## Sheet1
Date | : SEPTEMBER 19, 2022
Project : 8912 ASEANA TOWER
Robinsons EquitableTower, Ortigas Center, Pasig City | Aseana Business Park, Parañaque City
Subject : BILL OF QUANTITIES
ITEM | DESCRIPTION | UNIT | QTY | U N I T C O S T |  |  | TOTAL
NO. |  |  |  | MATERIAL COST | LABOR COST | TOTAL UNIT COST | AMOUNT
I. | ELECTRICAL WORKS
I.1 | Supply and installation of all necessary roughing-ins, wiring, wiring devices,
and all necessary accessories, hangers and supports, as required by the design and layout
A. | CONDUITS & FITTINGS
1 | 15 mm dia (1/2") EMT Pipe | lgt | 300 |  |  |  | 0
2 | 15 mm dia (1/2") PVC Pipe | lgt | 50
5 | 15 mm dia (1/2") EMT Coupling | pc | 300 |  |  |  | 0
6 | 15 mm dia (1/2") EMT Connector | pc | 382 |  |  |  | 0
7 | 15 mm dia (1/2") PVC Adapter w/ Locknut | pc | 120
8 | 400mm x 400mm x 100mm Pullbox w/ cover | pc | 5
9 | 2" x 4" Utility Box Ga.16 deep type | pc | 86 |  |  |  | 0
10 | 4" Junction Box Ga.16 D.T.w/ cover | pc | 80 |  |  |  | 0
11 | 4-11/16" Square Box Ga.16 D.T. w/ cover | pc | 30 |  |  |  | 0
12 | 15 mm dia Flexible Metallic Conduit | lm | 80 |  |  |  | 0
13 | 15 mm dia Straight Connector, metallic | pc | 160 |  |  |  | 0
14 | wireway 150mmwidth x 5mmdepth | lm | 80 |  |  |  | 0
15 | Chipping works and making good of concrete | lot | 1
16 | Hangers, Supports & Consumables | lot | 1 |  |  |  | 0
| Sub-Total A. | [5 empty] | 0
B. | WIRES & CABLES
1 | 3.5 mm2 THHN Wire | lm | 8100 |  |  |  | 0
2 | 5.5 mm2 THHN Wire | lm | 12 |  |  |  | 0
3 | 14 mm2 THHN Cable | lm | 12 |  |  |  | 0
4 | Wiring accessories, pulling compound, tapes, cable tie | lot | 1
| Sub-Total B. | [5 empty] | 0
C. | WIRING DEVICES
note: (verify switches to novelle)
1 | One Gang Switch | set |  |  |  |  | 0
2 | Two Gang Switch | set |  |  |  |  | 0
3 | Three Gang Switch | set |  |  |  |  | 0
8 | Duplex Universal Receptacle Outlet, Grnd'g. Type | set | 457 |  |  |  | 0
| Sub-Total C. | [5 empty] | 0
D. | PANELBOARDS & CIRCUIT BREAKERS
1 | Panel "PP-1A" NEMA-1 | set | 1
Main: 50AT 50AF, 3P, 400V/230V, 22 KAIC
Branches: 15-30 AT, 1P, 230V
2 | Panel "PP-1B" NEMA-1 | set | 1 |  |  |  | 0
Main: 50AT 50AF, 3P, 400V/230V, 22 KAIC
| Branches: 15-30 AT, 1P, 230V | [5 empty] | 0
3 | Panel "PP-1C" NEMA-1 | set | 1 |  |  |  | 0
Main: 50AT 50AF, 3P, 400V/230V, 22 KAIC
| Branches: 15-30 AT, 1P, 230V | [5 empty] | 0
4 | Panel "PP-1D" NEMA-1 | set | 1 |  |  |  | 0
Main: 50AT 50AF, 3P, 400V/230V, 22 KAIC
| Branches: 16-30 AT, 1P, 230V | [5 empty] | 0
5 | Panel "ACU/PP/LP-1E" NEMA-1 | set | 1 |  |  |  | 0
Main: 50AT 50AF, 3P, 400V/230V, 22 KAIC
| Branches: 3-30 AT, 1P, 230V | [5 empty] | 0
| Branches: 3-20 AT, 1P, 230V | [5 empty] | 0
| Sub-Total D. | [5 empty] | 0
`
E. | Supply and Installation of Lighting Fixtures:
Note: Waiting for specifcations of lighting fixture from Novelle
1 | 150mmØ LED Downlight | set | 50 |  |  |  | 0
2 | 150mmØ LED Downlight with UPS | set | 6 |  |  |  | 0
3 | 1800x200 LED PANEL LIGHT | set | 3 |  |  |  | 0
4 | Exit Sign (Directional) | set | 8 |  |  |  | 0
5 | Rigid Continous LED Strip Lighting | meters | 35 |  |  |  | 0
| Sub-Total E. | [5 empty] | 0
| I. TOTAL COST FOR ELECTRICAL WORKS | [5 empty] | 0
II. | OTHERS ( Please Specify ) - GENERAL REQUIREMENTS
1 | Mobilization | Lot |  |  |  |  | 0
2 | Testing and Commissioning | Lot |  |  |  |  | 0
3 | Electrical Design | Lot
4 | As-Built Drawings | Lot |  |  |  |  | 0
5 | Temporary Utilities - Site Lighting, Temporary Power | Lot |  |  |  |  | 0
6 | Electrical Engineering Supervision ( A "Must" item ) | Lot |  |  |  |  | 0
7 | Scaffoldings | Lot |  |  |  |  | 0
8 | Painting of exposed Conduits at Open Ceiling Areas | Lot
9 | Water and Electricity for Construction use | Lot
------------------
| Total II. Others / General Requirements | [5 empty] | 0
------------------
| TOTAL ELECTRICAL WORKS |  |  |  |  | PhP | 0
*****************
(VAT Inclusive)
Submitted by:
SINOTECH ASIA CONSTRUCTION INC.
KRIS YI
Managing Director

## Sheet2
HARDWARE
1000 | pcs | Uni Strut Strap ½"Ø
9 | lengths | Uni Strut Channel 2'' x 2'' x 8'
340 | lengths | Threaded Round Bar 3/8"Ø X10'
1020 | set | Grip Anchor 3/8"Ø
9 | pcs | Cutting Disk 14"Ø
15 | pcs | Hacksaw Blade
12 | kls | G.I. Wire #16
2040 | kls | Hexagonal Nut w/ Washer 3/8''Ø
21 | pcs | Drill Bit 1/4"Ø
11 | pcs | Mazonry BitBit 1/2"Ø
2 | can | PVC Solvent
21 | rolls | Plastic Tape
3 | gal | Primer Paint

## Sheet3
ROUGHING INS% | 50 | 50 | 50
WIRING% | 50 | 50 | 50
INSTALLED DEVICES% | 33 | 55 | 66